| Checklist- Cast-in Anchors |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Project | : |  | Location | : |  |
| Project no. | : |  | Section | : |  |
| Date/Time | : |  | Ref. no. | : |  |

| # | Description | Reference | Yes/No | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Safety |  |  |  |
| 1.1 | All personnel wear the required PPE. |  |  |  |
| 1.2 | Safety harnesses are used for work above 1.80 m. |  |  |  |
| 1.3 | Work area properly barricaded and access controlled. |  |  |  |
| 1.4 | Nearby structures and existing services are adequately protected. |  |  |  |
| 1.5 | Electrical and mechanical hazards identified and controlled. |  |  |  |
| 2 | Before Concrete Casting |  |  |  |
| 2.1 | The following anchor specifications are available and approved: |  |  |  |
|  | - Type |  |  |  |
|  | - Diameter |  |  |  |
|  | - Grade |  |  |  |
|  | - Embedment depth |  |  |  |
|  | - Projection |  |  |  |
| 2.2 | Anchor locations verified. |  |  |  |
| 2.3 | Alignment, spacing and projection verified. |  |  |  |
| 2.4 | Embedment depth verified. |  |  |  |
| 2.5 | Anchor type and grade verified |  |  |  |
| 2.6 | Templates securely fixed. |  |  |  |
| 2.7 | Anchors rigidly secured. |  |  |  |
| 2.8 | Threads protected. |  |  |  |
| 2.9 | Concrete cover maintained. |  |  |  |
| 2.10 | Engineer inspection completed before pouring |  |  |  |
| 2.11 | Anchor locations verified. |  |  |  |
| 2.12 | Alignment, spacing and projection verified. |  |  |  |
| 3 | Concrete Casting |  |  |  |
| 3.1 | Anchors remained securely fixed during concrete placement. |  |  |  |
| 3.2 | No movement or rotation of anchors during concrete vibration. |  |  |  |
| 3.3 | Anchor threads remained protected against concrete contamination. |  |  |  |
| 3.4 | Concrete placed without disturbing anchor position. |  |  |  |
| 3.5 | Vibrators used without contacting anchors or templates. |  |  |  |
| 3.6 | No segregation observed around anchor assemblies. |  |  |  |

|  | Remarks |
| --- | --- |

| Was a nonconformance / noncompliance found? |  |  | YES / NO |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Description NCR |  |  | NCR no.: |  |  |  |  |
| Remedial Action Taken |  |  |  |  |  |  |  |

| Supervisor/Site Engineer name: Date and Signature |  | Contractor representative: Date and Signature |
| --- | --- | --- |
| Client Signature: |  |  |
| Date and Signature |  |  |