| Checklist- Anchors |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Project | : |  | Location | : |  |
| Project no. | : |  | Section | : |  |
| Date/Time | : |  | Ref. no. | : |  |

| # | Description | Reference | Yes/No | Remarks |
| --- | --- | --- | --- | --- |
| 1 | General |  |  |  |
| 1.1 | Approved construction drawings and anchor layout available on site. |  |  |  |
| 1.2 | Latest Issued for Construction (IFC) revision available on site, with obsolete revisions removed and revisions communicated to all relevant personnel. |  |  |  |
| 1.3 | Hard copies of approved documents stored in a protected and organized manner. |  |  |  |
| 1.4 | Approved Work Method Statement and Engineer approval obtained before installation. |  |  |  |
| 1.5 | The following anchor specifications are available and approved: |  |  |  |
|  | Type |  |  |  |
|  | Diameter |  |  |  |
|  | Grade |  |  |  |
|  | Embedment depth |  |  |  |
|  | Projection |  |  |  |
| 1.6 | Ambient weather conditions suitable for anchor installation and concrete works. |  |  |  |
| 2 | Safety |  |  |  |
| 2.1 | All personnel wear the required PPE. |  |  |  |
| 2.2 | Safety harnesses are used for work above 1.80 m. |  |  |  |
| 2.3 | Work area properly barricaded and access controlled. |  |  |  |
| 2.4 | Nearby structures and existing services are adequately protected. |  |  |  |
| 2.5 | Electrical and mechanical hazards identified and controlled. |  |  |  |
| 3 | Anchors placement |  |  |  |
| 3.1 | Anchor locations marked accurately according to the approved shop drawings. |  |  |  |
| 3.2 | Lines, levels, and reference points verified. |  |  |  |
| 3.3 | Correct anchor type, size and quantity available on site. |  |  |  |
| 3.4 | Anchors free from damage, rust, or contamination. |  |  |  |
| 3.5 | Installation templates checked for dimensional accuracy and securely fixed. |  |  |  |
| 3.6 | Threads protected against concrete contamination before casting. |  |  |  |
| 3.7 | Anchors securely fixed with correct alignment, spacing, embedment depth and projection |  |  |  |
| 3.8 | Concrete cover around anchors complies with the approved shop drawings. |  |  |  |

|  | Remarks |
| --- | --- |

| Was a nonconformance / noncompliance found? |  |  | YES / NO |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Description NCR |  |  | NCR no.: |  |  |  |  |
| Remedial Action Taken |  |  |  |  |  |  |  |

| Supervisor/Site Engineer name: Date and Signature |  | Contractor representative: Date and Signature |
| --- | --- | --- |
| Client Signature: |  |  |
| Date and Signature |  |  |